This is taken from the www.BasementWatchdog.com website. This is such a great comparison of the Watchdog battery sump pumps. We wanted to share it with you. This cannot be modified in any way.. Features; BigDog AC/DC; Special; Emergency. POWERFUL. Pumping capacity (in gallons per hour at a 10-ft.height); 2200 GPH (3500 GPH@ 0'); 1730 GPH (2500 GPH@ 0'); 1000 GPH (2000 GPH@ 0'). EFFICIENT. Efficient 12-volt pump puts less drain on the batteries so they pump longer; 10-12 amps; 10-12 amps; 6.5 amps. Approximate hours of continuous pumping with the Basement Watchdog 7.5 hour battery; 7.5 hours; 7.5 hours; 12 hours. Approximate hours of continuous pumping with the Emergency sump pump battery; Not recommended; Not recommended; 6 hours. Runs intermittently for days on a single charge; •; •; •. Charger strength (the higher the amps, the faster it will recharge the battery); 20 amps; 1.6 amps; .4 amps. AUTOMATIC. Switches automatically to battery power when AC power fails; •; •; •. Pumps automatically when water volume exceeds the capacity of the main AC pump; •; •; •. Recharges automatically when power is restored; •; •; •. Monitors battery & power conditions constantly; •; •; •. Charges the battery, then the charger shuts off to extend the life of the battery; •; •. A battery hooked up backwards will not damage the control unit; •; •. Turns on the pump weekly to ensure operation; •. Displays the percentage of power remaining in the battery; •. VERSATILE. Pumps on AC power as well as battery power; •. Capable of pumping and charging the battery simultaneously; •. Two batteries can be used for double the run time; •. USER-FRIENDLY. Detects irregularities, sounds an alarm, and pinpoints problems and solutions on the control panel; •; •; •. The alarm can be silenced during a power outage; •; •; •. AN ALARM WILL ALERT YOU TO THESE POTENTIAL PROBLEMS. Battery needs water; •; •; •. Battery is old and needs to be replaced; •; •; •. Battery is discharged; •; •; •. Battery is defective and needs to be replaced; •; •; •. Battery cable is loose and needs to be tightened; •; •; •. Battery terminals need to be cleaned for a better connection; •; •; •. Power plug is out of the wall; •; •; •. Fuse or circuit breaker has failed; •; •; •. Pump has been activated, check the main pump for failure; •; •; •. Backup pump is clogged or broken and needs to be cleaned or replaced; •. Battery is hooked-up improperly; •... Purchase a basement watchdog battery backup sump pump today!.